## Summary
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
District Cooling Service Summary Report
Customer |  |  | 重庆凯德古渝雄关置业有限公司
Supply Agreement |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1)
Month |  |  | 2023-03-01
Date |  | Energy
Consumption
kWrh
Total
2023-03-01 |  | 876352
1 |  | 13430
2 |  | 19828
3 |  | 23321
4 |  | 23490
5 |  | 26445
6 |  | 22603
7 |  | 24301
8 |  | 31406
9 |  | 35947
10 |  | 35125
11 |  | 45175
12 |  | 33246
13 |  | 27609
14 |  | 28287
15 |  | 33794
16 |  | 30090
17 |  | 30204
18 |  | 26891
19 |  | 29684
20 |  | 27596
21 |  | 28211
22 |  | 34435
23 |  | 30479
24 |  | 28653
25 |  | 28228
26 |  | 25171
27 |  | 24137
28 |  | 24164
29 |  | 24440
30 |  | 29803
31 |  | 30159
Intake | Energy | Liquidated | Liquidated
Station | Consumption | Damage | Damage
|  | (LD1) | (LD2)
| kWrh | hrs | hrs
D1/东部裙楼能源站 | 219192 | 0 | 0
D2/西部裙楼能源站 | 148120 | 0 | 0
D3/酒店高区能源站 | 329182 | 0 | 0
D4/酒店低区能源站 | 67021 | 0 | 0
D5/办公高区能源站 | 59545 | 0 | 0
D6/办公低区能源站 | 13492 | 0 | 0
D7/服务式公寓高区能源站 | 37419 | 0 | 0
D8/服务式公寓低区能源站 | 2381 | 0 | 0

## PodiumE
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D1/东部裙楼能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 84.62%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 55716076 | kWrh | BTU vs LCP Return Temp. |  | 9.091%
Meter reading on | 2023-03-01 | at | 0:00 | 55496884 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  | 219192 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 914 |  | 0 |  | 0 | 0
1 |  | 407 |  |  |  | 0 | 0
2 |  | 449 |  |  |  | 0 | 0
3 |  | 483 |  |  |  | 0 | 0
4 |  | 505 |  |  |  | 0 | 0
5 |  | 398 |  |  |  | 0 | 0
6 |  | 442 |  |  |  | 0 | 0
7 |  | 513 |  |  |  | 0 | 0
8 |  | 825 |  |  |  | 0 | 0
9 |  | 576 |  |  |  | 0 | 0
10 |  | 625 |  |  |  | 0 | 0
11 |  | 914 |  |  |  | 0 | 0
12 |  | 581 |  |  |  | 0 | 0
13 |  | 595 |  |  |  | 0 | 0
14 |  | 525 |  |  |  | 0 | 0
15 |  | 758 |  |  |  | 0 | 0
16 |  | 535 |  |  |  | 0 | 0
17 |  | 456 |  |  |  | 0 | 0
18 |  | 507 |  |  |  | 0 | 0
19 |  | 599 |  |  |  | 0 | 0
20 |  | 510 |  |  |  | 0 | 0
21 |  | 473 |  |  |  | 0 | 0
22 |  | 708 |  |  |  | 0 | 0
23 |  | 535 |  |  |  | 0 | 0
24 |  | 493 |  |  |  | 0 | 0
25 |  | 568 |  |  |  | 0 | 0
26 |  | 548 |  |  |  | 0 | 0
27 |  | 488 |  |  |  | 0 | 0
28 |  | 568 |  |  |  | 0 | 0
29 |  | 609 |  |  |  | 0 | 0
30 |  | 695 |  |  |  | 0 | 0
31 |  | 532 |  |  |  | 0 | 0
8989.209

## PodiumW
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D2/西部裙楼能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 96.77%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 46563096 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | 2023-03-01 | at | 0:00 | 46414976 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  | 148120 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 968 |  | 148120 |  | 0 | 0
1 |  | 31 |  | 84 |  | 0 | 0
2 |  | 254 |  | 796 |  | 0 | 0
3 |  | 202 |  | 1200 |  | 0 | 0
4 |  | 202 |  | 784 |  | 0 | 0
5 |  | 385 |  | 2008 |  | 0 | 0
6 |  | 242 |  | 2648 |  | 0 | 0
7 |  | 208 |  | 2724 |  | 0 | 0
8 |  | 579 |  | 4268 |  | 0 | 0
9 |  | 611 |  | 6536 |  | 0 | 0
10 |  | 601 |  | 6284 |  | 0 | 0
11 |  | 968 |  | 8336 |  | 0 | 0
12 |  | 463 |  | 5352 |  | 0 | 0
13 |  | 447 |  | 4704 |  | 0 | 0
14 |  | 545 |  | 5384 |  | 0 | 0
15 |  | 730 |  | 5636 |  | 0 | 0
16 |  | 466 |  | 5788 |  | 0 | 0
17 |  | 479 |  | 5616 |  | 0 | 0
18 |  | 503 |  | 5328 |  | 0 | 0
19 |  | 600 |  | 6656 |  | 0 | 0
20 |  | 592 |  | 6040 |  | 0 | 0
21 |  | 457 |  | 5352 |  | 0 | 0
22 |  | 656 |  | 6972 |  | 0 | 0
23 |  | 593 |  | 6584 |  | 0 | 0
24 |  | 767 |  | 5952 |  | 0 | 0
25 |  | 552 |  | 6392 |  | 0 | 0
26 |  | 521 |  | 5056 |  | 0 | 0
27 |  | 442 |  | 5488 |  | 0 | 0
28 |  | 515 |  | 4432 |  | 0 | 0
29 |  | 530 |  | 5292 |  | 0 | 0
30 |  | 777 |  | 5060 |  | 0 | 0
31 |  | 498 |  | 5368 |  | 0 | 0
8074.8882

## HotelHZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D3/酒店高区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 8.511%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 23213492 | kWrh | BTU vs LCP Return Temp. |  | 9.091%
Meter reading on | 2023-03-01 | at | 0:00 | 22884310 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  | 329182 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 1613 |  | 329182 |  | 0 | 0
1 |  | 829 |  | 6996 |  | 0 | 0
2 |  | 762 |  | 8766 |  | 0 | 0
3 |  | 691 |  | 9934 |  | 0 | 0
4 |  | 1033 |  | 12472 |  | 0 | 0
5 |  | 838 |  | 13240 |  | 0 | 0
6 |  | 736 |  | 9368 |  | 0 | 0
7 |  | 770 |  | 9818 |  | 0 | 0
8 |  | 1281 |  | 13006 |  | 0 | 0
9 |  | 971 |  | 14192 |  | 0 | 0
10 |  | 1105 |  | 12104 |  | 0 | 0
11 |  | 1288 |  | 16748 |  | 0 | 0
12 |  | 840 |  | 12860 |  | 0 | 0
13 |  | 933 |  | 11372 |  | 0 | 0
14 |  | 775 |  | 10194 |  | 0 | 0
15 |  | 1613 |  | 12522 |  | 0 | 0
16 |  | 804 |  | 10232 |  | 0 | 0
17 |  | 1439 |  | 12236 |  | 0 | 0
18 |  | 621 |  | 8364 |  | 0 | 0
19 |  | 760 |  | 9454 |  | 0 | 0
20 |  | 657 |  | 9702 |  | 0 | 0
21 |  | 878 |  | 10474 |  | 0 | 0
22 |  | 804 |  | 11726 |  | 0 | 0
23 |  | 671 |  | 9562 |  | 0 | 0
24 |  | 645 |  | 10326 |  | 0 | 0
25 |  | 1054 |  | 9868 |  | 0 | 0
26 |  | 1055 |  | 8582 |  | 0 | 0
27 |  | 626 |  | 7016 |  | 0 | 0
28 |  | 538 |  | 8150 |  | 0 | 0
29 |  | 771 |  | 7796 |  | 0 | 0
30 |  | 858 |  | 11506 |  | 0 | 0
31 |  | 902 |  | 10596 |  | 0 | 0
759.768

## HotelLZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D4/酒店低区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 11.11%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 6367738 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | 2023-03-01 | at | 0:00 | 6300717 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  | 67021 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 430 |  | 67021 |  | 0 | 0
1 |  | 178 |  | 1363 |  | 0 | 0
2 |  | 223 |  | 2350 |  | 0 | 0
3 |  | 165 |  | 2376 |  | 0 | 0
4 |  | 176 |  | 1916 |  | 0 | 0
5 |  | 223 |  | 2687 |  | 0 | 0
6 |  | 198 |  | 2601 |  | 0 | 0
7 |  | 154 |  | 2167 |  | 0 | 0
8 |  | 262 |  | 2346 |  | 0 | 0
9 |  | 268 |  | 2862 |  | 0 | 0
10 |  | 312 |  | 3852 |  | 0 | 0
11 |  | 430 |  | 4346 |  | 0 | 0
12 |  | 332 |  | 3130 |  | 0 | 0
13 |  | 168 |  | 1596 |  | 0 | 0
14 |  | 201 |  | 1881 |  | 0 | 0
15 |  | 174 |  | 2324 |  | 0 | 0
16 |  | 196 |  | 2107 |  | 0 | 0
17 |  | 151 |  | 1982 |  | 0 | 0
18 |  | 195 |  | 2274 |  | 0 | 0
19 |  | 279 |  | 2451 |  | 0 | 0
20 |  | 140 |  | 1553 |  | 0 | 0
21 |  | 220 |  | 2233 |  | 0 | 0
22 |  | 212 |  | 2176 |  | 0 | 0
23 |  | 187 |  | 1982 |  | 0 | 0
24 |  | 130 |  | 1636 |  | 0 | 0
25 |  | 142 |  | 1705 |  | 0 | 0
26 |  | 187 |  | 1704 |  | 0 | 0
27 |  | 115 |  | 1560 |  | 0 | 0
28 |  | 130 |  | 1459 |  | 0 | 0
29 |  | 332 |  | 1512 |  | 0 | 0
30 |  | 130 |  | 1443 |  | 0 | 0
31 |  | 120 |  | 1447 |  | 0 | 0
0

## OfficeHZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D5/办公高区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 8%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 10102605 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | 2023-03-01 | at | 0:00 | 10043060 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  | 59545 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 417 |  | 59545 |  | 0 | 0
1 |  | 299 |  | 1148 |  | 0 | 0
2 |  | 351 |  | 1701 |  | 0 | 0
3 |  | 174 |  | 1611 |  | 0 | 0
4 |  | 301 |  | 1572 |  | 0 | 0
5 |  | 196 |  | 1597 |  | 0 | 0
6 |  | 204 |  | 1646 |  | 0 | 0
7 |  | 273 |  | 2065 |  | 0 | 0
8 |  | 262 |  | 2243 |  | 0 | 0
9 |  | 202 |  | 2321 |  | 0 | 0
10 |  | 240 |  | 2816 |  | 0 | 0
11 |  | 373 |  | 3326 |  | 0 | 0
12 |  | 245 |  | 1509 |  | 0 | 0
13 |  | 203 |  | 1277 |  | 0 | 0
14 |  | 229 |  | 1756 |  | 0 | 0
15 |  | 305 |  | 2939 |  | 0 | 0
16 |  | 241 |  | 2322 |  | 0 | 0
17 |  | 222 |  | 2010 |  | 0 | 0
18 |  | 229 |  | 1685 |  | 0 | 0
19 |  | 180 |  | 1179 |  | 0 | 0
20 |  | 202 |  | 1464 |  | 0 | 0
21 |  | 176 |  | 1388 |  | 0 | 0
22 |  | 417 |  | 3136 |  | 0 | 0
23 |  | 197 |  | 2750 |  | 0 | 0
24 |  | 176 |  | 1191 |  | 0 | 0
25 |  | 211 |  | 1195 |  | 0 | 0
26 |  | 261 |  | 1307 |  | 0 | 0
27 |  | 239 |  | 1601 |  | 0 | 0
28 |  | 172 |  | 1613 |  | 0 | 0
29 |  | 243 |  | 1519 |  | 0 | 0
30 |  | 297 |  | 2810 |  | 0 | 0
31 |  | 246 |  | 2848 |  | 0 | 0
649.8185

## OfficeLZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D6/办公低区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 100%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 2435413 | kWrh | BTU vs LCP Return Temp. |  | 11.11%
Meter reading on | 2023-03-01 | at | 0:00 | 2421921 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  | 13492 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 201 |  | 13492 |  | 0 | 0
1 |  | 88 |  | 435 |  | 0 | 0
2 |  | 90 |  | 555 |  | 0 | 0
3 |  | 69 |  | 580 |  | 0 | 0
4 |  | 93 |  | 345 |  | 0 | 0
5 |  | 57 |  | 426 |  | 0 | 0
6 |  | 95 |  | 507 |  | 0 | 0
7 |  | 116 |  | 597 |  | 0 | 0
8 |  | 81 |  | 519 |  | 0 | 0
9 |  | 80 |  | 468 |  | 0 | 0
10 |  | 90 |  | 492 |  | 0 | 0
11 |  | 114 |  | 562 |  | 0 | 0
12 |  | 78 |  | 374 |  | 0 | 0
13 |  | 70 |  | 536 |  | 0 | 0
14 |  | 95 |  | 380 |  | 0 | 0
15 |  | 65 |  | 427 |  | 0 | 0
16 |  | 138 |  | 380 |  | 0 | 0
17 |  | 68 |  | 494 |  | 0 | 0
18 |  | 75 |  | 384 |  | 0 | 0
19 |  | 65 |  | 272 |  | 0 | 0
20 |  | 74 |  | 366 |  | 0 | 0
21 |  | 63 |  | 542 |  | 0 | 0
22 |  | 84 |  | 480 |  | 0 | 0
23 |  | 65 |  | 180 |  | 0 | 0
24 |  | 76 |  | 495 |  | 0 | 0
25 |  | 201 |  | 425 |  | 0 | 0
26 |  | 64 |  | 211 |  | 0 | 0
27 |  | 74 |  | 319 |  | 0 | 0
28 |  | 68 |  | 476 |  | 0 | 0
29 |  | 55 |  | 387 |  | 0 | 0
30 |  | 57 |  | 426 |  | 0 | 0
31 |  | 71 |  | 452 |  | 0 | 0
0

## SvcAptHZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D7/服务式公寓高区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 24%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 5918911 | kWrh | BTU vs LCP Return Temp. |  | 9.091%
Meter reading on | 2023-03-01 | at | 0:00 | 5881492 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  | 37419 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 444 |  | 37419 |  | 0 | 0
1 |  | 0 |  | 0 |  | 0 | 0
2 |  | 0 |  | 0 |  | 0 | 0
3 |  | 444 |  | 1677 |  | 0 | 0
4 |  | 155 |  | 905 |  | 0 | 0
5 |  | 170 |  | 1075 |  | 0 | 0
6 |  | 237 |  | 1070 |  | 0 | 0
7 |  | 290 |  | 1298 |  | 0 | 0
8 |  | 352 |  | 1184 |  | 0 | 0
9 |  | 124 |  | 1322 |  | 0 | 0
10 |  | 139 |  | 1346 |  | 0 | 0
11 |  | 177 |  | 1488 |  | 0 | 0
12 |  | 116 |  | 1140 |  | 0 | 0
13 |  | 145 |  | 900 |  | 0 | 0
14 |  | 220 |  | 1157 |  | 0 | 0
15 |  | 263 |  | 1499 |  | 0 | 0
16 |  | 146 |  | 1414 |  | 0 | 0
17 |  | 170 |  | 1191 |  | 0 | 0
18 |  | 171 |  | 1388 |  | 0 | 0
19 |  | 136 |  | 1684 |  | 0 | 0
20 |  | 159 |  | 1343 |  | 0 | 0
21 |  | 181 |  | 1206 |  | 0 | 0
22 |  | 164 |  | 1297 |  | 0 | 0
23 |  | 198 |  | 1529 |  | 0 | 0
24 |  | 181 |  | 1509 |  | 0 | 0
25 |  | 233 |  | 1239 |  | 0 | 0
26 |  | 175 |  | 1039 |  | 0 | 0
27 |  | 195 |  | 1181 |  | 0 | 0
28 |  | 139 |  | 1114 |  | 0 | 0
29 |  | 212 |  | 1306 |  | 0 | 0
30 |  | 234 |  | 1454 |  | 0 | 0
31 |  | 147 |  | 1464 |  | 0 | 0
440.4172

## SvcAptLZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D8/服务式公寓低区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 16.67%
Month |  |  |  |  | 2023-03-01 | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 2023-04-01 | at | 0:00 | 1190407 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | 2023-03-01 | at | 0:00 | 1188026 | kWrh
Adjustment |  |  |  |  | kWrh
Energy Consumption |  |  |  | 2381 | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
2023-03-01 |  | 65 |  | 2381 |  | 0 | 0
1 |  | 0 |  | 0 |  | 0 | 0
2 |  | 0 |  | 0 |  | 0 | 0
3 |  | 63 |  | 211 |  | 0 | 0
4 |  | 46 |  | 188 |  | 0 | 0
5 |  | 22 |  | 124 |  | 0 | 0
6 |  | 48 |  | 147 |  | 0 | 0
7 |  | 65 |  | 184 |  | 0 | 0
8 |  | 54 |  | 164 |  | 0 | 0
9 |  | 37 |  | 170 |  | 0 | 0
10 |  | 39 |  | 147 |  | 0 | 0
11 |  | 59 |  | 181 |  | 0 | 0
12 |  | 26 |  | 153 |  | 0 | 0
13 |  | 42 |  | 152 |  | 0 | 0
14 |  | 59 |  | 147 |  | 0 | 0
15 |  | 45 |  | 219 |  | 0 | 0
16 |  | 41 |  | 147 |  | 0 | 0
17 |  | 29 |  | 47 |  | 0 | 0
18 |  | 0 |  | 0 |  | 0 | 0
19 |  | 0 |  | 0 |  | 0 | 0
20 |  | 0 |  | 0 |  | 0 | 0
21 |  | 0 |  | 0 |  | 0 | 0
22 |  | 0 |  | 0 |  | 0 | 0
23 |  | 0 |  | 0 |  | 0 | 0
24 |  | 0 |  | 0 |  | 0 | 0
25 |  | 0 |  | 0 |  | 0 | 0
26 |  | 0 |  | 0 |  | 0 | 0
27 |  | 0 |  | 0 |  | 0 | 0
28 |  | 0 |  | 0 |  | 0 | 0
29 |  | 0 |  | 0 |  | 0 | 0
30 |  | 0 |  | 0 |  | 0 | 0
31 |  | 0 |  | 0 |  | 0 | 0
144.2472