## Summary
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
District Cooling Service Summary Report
Customer |  |  | 重庆凯德古渝雄关置业有限公司
Supply Agreement |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1)
Month |  |  | Jun 2023
Date |  | Energy
Consumption
kWrh
Total
Intake | Energy | Liquidated | Liquidated
Station | Consumption | Damage | Damage
|  | (LD1) | (LD2)
| kWrh | hrs | hrs
D1/东部裙楼能源站 |  | 0 | 0
D2/西部裙楼能源站 |  | 0 | 0
D3/酒店高区能源站 |  | 0 | 0
D4/酒店低区能源站 |  | 0 | 0
D5/办公高区能源站 |  | 0 | 0
D6/办公低区能源站 |  | 0 | 0
D7/服务式公寓高区能源站 |  | 0 | 0
D8/服务式公寓低区能源站 |  | 0 | 0

## PodiumE
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report | [5 empty] | Check
Customer |  |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  |  | D1/东部裙楼能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 84.62%
Month | [5 empty] | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | 01.06.23 | at | 0:00 | 59386200 | kWrh | BTU vs LCP Return Temp. |  | 9.091%
Meter reading on | 01.07.23 | at | 0:00 | 57619096 | kWrh
Adjustment |  |  |  | 0 | kWrh
Energy Consumption |  |  |  |  | kWrh
Date |  | Maximum |  | Energy |  | Liquidated | Liquidated
|  | Demand |  | Consumption |  | Damage | Damage
[6 empty] | (LD1) | (LD2)
|  | kWr |  | kWrh |  | hrs | hrs
|  | Maximum |  | Cumulative |  | Total | Total
|  | 6512 |  | 66712 |  | 0 | 0
|  | 4242 |  | 48440 |  | 0 | 0
|  | 3872 |  | 47404 |  | 0 | 0
|  | 3524 |  | 44264 |  | 0 | 0
|  | 3590 |  | 39740 |  | 0 | 0
|  | 3689 |  | 45488 |  | 0 | 0
|  | 3645 |  | 45512 |  | 0 | 0
|  | 4801 |  | 46332 |  | 0 | 0
|  | 5456 |  | 52360 |  | 0 | 0
|  | 4999 |  | 58320 |  | 0 | 0
|  | 4717 |  | 56972 |  | 0 | 0
|  | 3909 |  | 50136 |  | 0 | 0
|  | 4595 |  | 54976 |  | 0 | 0
|  | 5277 |  | 58576 |  | 0 | 0
|  | 4688 |  | 52016 |  | 0 | 0
|  | 4061 |  | 43964 |  | 0 | 0
|  | 4147 |  | 48252 |  | 0 | 0
|  | 4735 |  | 56220 |  | 0 | 0
|  | 6454 |  | 61324 |  | 0 | 0
|  | 5941 |  | 69504 |  | 0 | 0
|  | 4644 |  | 52088 |  | 0 | 0
|  | 6264 |  | 56364 |  | 0 | 0
|  | 5340 |  | 60860 |  | 0 | 0
|  | 5385 |  | 65196 |  | 0 | 0
|  | 5696 |  | 64268 |  | 0 | 0
|  | 8064 |  | 79664 |  | 0 | 0
|  | 7072 |  | 86320 |  | 0 | 0
|  | 7503 |  | 87012 |  | 0 | 0
|  | 7095 |  | 84384 |  | 0 | 0
|  | 6955 |  | 84436 |  | 0 | 0
[6 empty] | 0 | 0
8989.209

## PodiumW
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report |  |  |  |  | Check
Customer |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  | D2/西部裙楼能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 96.77%
Month |  |  |  |  | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | at | 0:00 | 50128552 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | at | 0:00 | 48370588 | kWrh
Adjustment |  |  | 0 | kWrh
Energy Consumption |  |  |  | kWrh
Date | Maximum |  | Energy |  | Liquidated | Liquidated
| Demand |  | Consumption |  | Damage | Damage
[5 empty] | (LD1) | (LD2)
| kWr |  | kWrh |  | hrs | hrs
| Maximum |  | Cumulative |  | Total | Total
| 7472 |  | 78916 |  | 0 | 0
| 4823 |  | 47928 |  | 0 | 0
| 5438 |  | 54672 |  | 0 | 0
| 4572 |  | 51420 |  | 0 | 0
| 3358 |  | 36812 |  | 0 | 0
| 5378 |  | 45016 |  | 0 | 0
| 4181 |  | 44376 |  | 0 | 0
| 4545 |  | 47348 |  | 0 | 0
| 4763 |  | 50236 |  | 0 | 0
| 5356 |  | 60604 |  | 0 | 0
| 5357 |  | 58968 |  | 0 | 0
| 4233 |  | 50140 |  | 0 | 0
| 4549 |  | 52632 |  | 0 | 0
| 5986 |  | 55964 |  | 0 | 0
| 4541 |  | 50224 |  | 0 | 0
| 3836 |  | 42728 |  | 0 | 0
| 4256 |  | 47652 |  | 0 | 0
| 5049 |  | 53556 |  | 0 | 0
| 5343 |  | 58628 |  | 0 | 0
| 5967 |  | 67040 |  | 0 | 0
| 4573 |  | 50280 |  | 0 | 0
| 5093 |  | 52804 |  | 0 | 0
| 5774 |  | 66576 |  | 0 | 0
| 5935 |  | 64788 |  | 0 | 0
| 6741 |  | 62920 |  | 0 | 0
| 7377 |  | 79356 |  | 0 | 0
| 7556 |  | 83464 |  | 0 | 0
| 7523 |  | 85328 |  | 0 | 0
| 9920 |  | 79128 |  | 0 | 0
| 8001 |  | 78460 |  | 0 | 0
[5 empty] | 0 | 0
8074.8882

## HotelHZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report |  |  |  |  | Check
Customer |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  | D3/酒店高区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 8.511%
Month |  |  |  |  | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | at | 0:00 | 25649068 | kWrh | BTU vs LCP Return Temp. |  | 9.091%
Meter reading on | at | 0:00 | 24665650 | kWrh
Adjustment |  |  | 0 | kWrh
Energy Consumption |  |  |  | kWrh
Date | Maximum |  | Energy |  | Liquidated | Liquidated
| Demand |  | Consumption |  | Damage | Damage
[5 empty] | (LD1) | (LD2)
| kWr |  | kWrh |  | hrs | hrs
| Maximum |  | Cumulative |  | Total | Total
| 1794 |  | 31172 |  | 0 | 0
| 1544 |  | 26990 |  | 0 | 0
| 1438 |  | 23638 |  | 0 | 0
| 1332 |  | 22244 |  | 0 | 0
| 1443 |  | 21970 |  | 0 | 0
| 2033 |  | 26850 |  | 0 | 0
| 1420 |  | 23720 |  | 0 | 0
| 1826 |  | 28570 |  | 0 | 0
| 1954 |  | 31676 |  | 0 | 0
| 2207 |  | 33294 |  | 0 | 0
| 1865 |  | 30116 |  | 0 | 0
| 1805 |  | 30814 |  | 0 | 0
| 2114 |  | 33298 |  | 0 | 0
| 2206 |  | 31172 |  | 0 | 0
| 1298 |  | 23850 |  | 0 | 0
| 1303 |  | 20352 |  | 0 | 0
| 1303 |  | 22694 |  | 0 | 0
| 1762 |  | 28806 |  | 0 | 0
| 2717 |  | 37746 |  | 0 | 0
| 2674 |  | 44782 |  | 0 | 0
| 2023 |  | 31666 |  | 0 | 0
| 1914 |  | 25682 |  | 0 | 0
| 2174 |  | 33184 |  | 0 | 0
| 2317 |  | 39380 |  | 0 | 0
| 2623 |  | 43338 |  | 0 | 0
| 2996 |  | 48134 |  | 0 | 0
| 3061 |  | 52908 |  | 0 | 0
| 2874 |  | 54620 |  | 0 | 0
| 2191 |  | 41796 |  | 0 | 0
| 2389 |  | 38956 |  | 0 | 0
[5 empty] | 0 | 0
759.768

## HotelLZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report |  |  |  |  | Check
Customer |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  | D4/酒店低区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 11.11%
Month |  |  |  |  | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | at | 0:00 | 7082153 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | at | 0:00 | 6783337 | kWrh
Adjustment |  |  | 0 | kWrh
Energy Consumption |  |  |  | kWrh
Date | Maximum |  | Energy |  | Liquidated | Liquidated
| Demand |  | Consumption |  | Damage | Damage
[5 empty] | (LD1) | (LD2)
| kWr |  | kWrh |  | hrs | hrs
| Maximum |  | Cumulative |  | Total | Total
| 704 |  | 8559 |  | 0 | 0
| 912 |  | 11206 |  | 0 | 0
| 477 |  | 6882 |  | 0 | 0
| 627 |  | 7723 |  | 0 | 0
| 409 |  | 5680 |  | 0 | 0
| 577 |  | 7438 |  | 0 | 0
| 533 |  | 6782 |  | 0 | 0
| 656 |  | 8939 |  | 0 | 0
| 1080 |  | 12829 |  | 0 | 0
| 516 |  | 6619 |  | 0 | 0
| 453 |  | 5886 |  | 0 | 0
| 442 |  | 6541 |  | 0 | 0
| 1053 |  | 11630 |  | 0 | 0
| 887 |  | 9575 |  | 0 | 0
| 678 |  | 9193 |  | 0 | 0
| 752 |  | 9627 |  | 0 | 0
| 720 |  | 11025 |  | 0 | 0
| 979 |  | 13078 |  | 0 | 0
| 711 |  | 8900 |  | 0 | 0
| 887 |  | 12324 |  | 0 | 0
| 794 |  | 11473 |  | 0 | 0
| 570 |  | 7597 |  | 0 | 0
| 468 |  | 6489 |  | 0 | 0
| 414 |  | 7617 |  | 0 | 0
| 740 |  | 8466 |  | 0 | 0
| 1163 |  | 13351 |  | 0 | 0
| 916 |  | 13319 |  | 0 | 0
| 1399 |  | 18210 |  | 0 | 0
| 1155 |  | 12825 |  | 0 | 0
| 1317 |  | 19033 |  | 0 | 0
[5 empty] | 0 | 0
0

## OfficeHZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report |  |  |  |  | Check
Customer |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  | D5/办公高区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 8%
Month |  |  |  |  | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | at | 0:00 | 11160052 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | at | 0:00 | 10697706 | kWrh
Adjustment |  |  | 0 | kWrh
Energy Consumption |  |  |  | kWrh
Date | Maximum |  | Energy |  | Liquidated | Liquidated
| Demand |  | Consumption |  | Damage | Damage
[5 empty] | (LD1) | (LD2)
| kWr |  | kWrh |  | hrs | hrs
| Maximum |  | Cumulative |  | Total | Total
| 1376 |  | 18049 |  | 0 | 0
| 1294 |  | 15486 |  | 0 | 0
| 567 |  | 9193 |  | 0 | 0
| 613 |  | 8006 |  | 0 | 0
| 1014 |  | 13381 |  | 0 | 0
| 1268 |  | 15737 |  | 0 | 0
| 1204 |  | 14403 |  | 0 | 0
| 1100 |  | 14486 |  | 0 | 0
| 1176 |  | 15770 |  | 0 | 0
| 730 |  | 10408 |  | 0 | 0
| 660 |  | 9922 |  | 0 | 0
| 1238 |  | 17215 |  | 0 | 0
| 1429 |  | 17523 |  | 0 | 0
| 1302 |  | 17300 |  | 0 | 0
| 1129 |  | 12640 |  | 0 | 0
| 837 |  | 11202 |  | 0 | 0
| 397 |  | 6698 |  | 0 | 0
| 681 |  | 9540 |  | 0 | 0
| 1503 |  | 19088 |  | 0 | 0
| 1801 |  | 22748 |  | 0 | 0
| 1137 |  | 14361 |  | 0 | 0
| 584 |  | 8663 |  | 0 | 0
| 799 |  | 11243 |  | 0 | 0
| 766 |  | 11991 |  | 0 | 0
| 1684 |  | 21127 |  | 0 | 0
| 1795 |  | 24526 |  | 0 | 0
| 2113 |  | 25446 |  | 0 | 0
| 2160 |  | 25209 |  | 0 | 0
| 1925 |  | 20586 |  | 0 | 0
| 1673 |  | 20399 |  | 0 | 0
[5 empty] | 0 | 0
649.8185

## OfficeLZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report |  |  |  |  | Check
Customer |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  | D6/办公低区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 100%
Month |  |  |  |  | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | at | 0:00 | 2629871 | kWrh | BTU vs LCP Return Temp. |  | 11.11%
Meter reading on | at | 0:00 | 2521647 | kWrh
Adjustment |  |  | 0 | kWrh
Energy Consumption |  |  |  | kWrh
Date | Maximum |  | Energy |  | Liquidated | Liquidated
| Demand |  | Consumption |  | Damage | Damage
[5 empty] | (LD1) | (LD2)
| kWr |  | kWrh |  | hrs | hrs
| Maximum |  | Cumulative |  | Total | Total
| 587 |  | 4667 |  | 0 | 0
| 571 |  | 4220 |  | 0 | 0
| 153 |  | 791 |  | 0 | 0
| 142 |  | 736 |  | 0 | 0
| 409 |  | 3562 |  | 0 | 0
| 383 |  | 3767 |  | 0 | 0
| 472 |  | 3527 |  | 0 | 0
| 440 |  | 4027 |  | 0 | 0
| 428 |  | 4208 |  | 0 | 0
| 229 |  | 746 |  | 0 | 0
| 321 |  | 733 |  | 0 | 0
| 481 |  | 4654 |  | 0 | 0
| 641 |  | 4650 |  | 0 | 0
| 636 |  | 4694 |  | 0 | 0
| 545 |  | 3922 |  | 0 | 0
| 486 |  | 3365 |  | 0 | 0
| 280 |  | 688 |  | 0 | 0
| 256 |  | 907 |  | 0 | 0
| 666 |  | 4785 |  | 0 | 0
| 621 |  | 5705 |  | 0 | 0
| 471 |  | 4308 |  | 0 | 0
| 288 |  | 1793 |  | 0 | 0
| 200 |  | 731 |  | 0 | 0
| 339 |  | 1321 |  | 0 | 0
| 536 |  | 4019 |  | 0 | 0
| 827 |  | 6110 |  | 0 | 0
| 826 |  | 6633 |  | 0 | 0
| 696 |  | 6736 |  | 0 | 0
| 921 |  | 5878 |  | 0 | 0
| 804 |  | 6341 |  | 0 | 0
[5 empty] | 0 | 0
0

## SvcAptHZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report |  |  |  |  | Check
Customer |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  | D7/服务式公寓高区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 24%
Month |  |  |  |  | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | at | 0:00 | 6473626 | kWrh | BTU vs LCP Return Temp. |  | 9.091%
Meter reading on | at | 0:00 | 6214886 | kWrh
Adjustment |  |  | 0 | kWrh
Energy Consumption |  |  |  | kWrh
Date | Maximum |  | Energy |  | Liquidated | Liquidated
| Demand |  | Consumption |  | Damage | Damage
[5 empty] | (LD1) | (LD2)
| kWr |  | kWrh |  | hrs | hrs
| Maximum |  | Cumulative |  | Total | Total
| 480 |  | 8679 |  | 0 | 0
| 470 |  | 7802 |  | 0 | 0
| 403 |  | 7241 |  | 0 | 0
| 459 |  | 7341 |  | 0 | 0
| 287 |  | 5178 |  | 0 | 0
| 383 |  | 6650 |  | 0 | 0
| 366 |  | 6804 |  | 0 | 0
| 393 |  | 7717 |  | 0 | 0
| 620 |  | 7882 |  | 0 | 0
| 472 |  | 8849 |  | 0 | 0
| 613 |  | 8507 |  | 0 | 0
| 359 |  | 7190 |  | 0 | 0
| 566 |  | 7476 |  | 0 | 0
| 468 |  | 8121 |  | 0 | 0
| 405 |  | 7008 |  | 0 | 0
| 309 |  | 6754 |  | 0 | 0
| 375 |  | 7242 |  | 0 | 0
| 535 |  | 8024 |  | 0 | 0
| 513 |  | 8668 |  | 0 | 0
| 553 |  | 10455 |  | 0 | 0
| 506 |  | 8876 |  | 0 | 0
| 504 |  | 8687 |  | 0 | 0
| 505 |  | 8741 |  | 0 | 0
| 674 |  | 9462 |  | 0 | 0
| 563 |  | 10326 |  | 0 | 0
| 580 |  | 11258 |  | 0 | 0
| 633 |  | 12481 |  | 0 | 0
| 746 |  | 12805 |  | 0 | 0
| 617 |  | 10815 |  | 0 | 0
| 843 |  | 11701 |  | 0 | 0
[5 empty] | 0 | 0
440.4172

## SvcAptLZ
Shirui Energy Engineering and Technology (Chongqing) Co., Ltd.
Chilled Water Intake Station Monthly Metering Report |  |  |  |  | Check
Customer |  |  |  | 重庆凯德古渝雄关置业有限公司 | Description |  | Status
Intake Station |  |  |  | D8/服务式公寓低区能源站 | Meter reading vs Energy Consumption |  | 0%
Supply Agreement |  |  |  | 中华人民共和国重庆市重庆来福士广场技术服务协议(TSA1) | BTU vs LCP Flow |  | 16.67%
Month |  |  |  |  | BTU vs LCP Supply Temp. |  | 12.5%
Meter reading on | at | 0:00 | 1297460 | kWrh | BTU vs LCP Return Temp. |  | 10%
Meter reading on | at | 0:00 | 1237753 | kWrh
Adjustment |  |  | 0 | kWrh
Energy Consumption |  |  |  | kWrh
Date | Maximum |  | Energy |  | Liquidated | Liquidated
| Demand |  | Consumption |  | Damage | Damage
[5 empty] | (LD1) | (LD2)
| kWr |  | kWrh |  | hrs | hrs
| Maximum |  | Cumulative |  | Total | Total
| 115 |  | 1490 |  | 0 | 0
| 180 |  | 2238 |  | 0 | 0
| 142 |  | 1402 |  | 0 | 0
| 119 |  | 1499 |  | 0 | 0
| 95 |  | 1191 |  | 0 | 0
| 148 |  | 1816 |  | 0 | 0
| 132 |  | 1745 |  | 0 | 0
| 144 |  | 1994 |  | 0 | 0
| 179 |  | 2107 |  | 0 | 0
| 148 |  | 2103 |  | 0 | 0
| 188 |  | 1919 |  | 0 | 0
| 130 |  | 1716 |  | 0 | 0
| 177 |  | 1792 |  | 0 | 0
| 155 |  | 1981 |  | 0 | 0
| 141 |  | 1766 |  | 0 | 0
| 128 |  | 1823 |  | 0 | 0
| 160 |  | 1930 |  | 0 | 0
| 133 |  | 1817 |  | 0 | 0
| 174 |  | 1963 |  | 0 | 0
| 173 |  | 2195 |  | 0 | 0
| 153 |  | 2021 |  | 0 | 0
| 157 |  | 1905 |  | 0 | 0
| 163 |  | 2109 |  | 0 | 0
| 173 |  | 2282 |  | 0 | 0
| 231 |  | 2181 |  | 0 | 0
| 164 |  | 2403 |  | 0 | 0
| 184 |  | 2411 |  | 0 | 0
| 164 |  | 2554 |  | 0 | 0
| 247 |  | 2564 |  | 0 | 0
| 201 |  | 2790 |  | 0 | 0
[5 empty] | 0 | 0
144.2472